## E City 1
Load Shedding Chart from 27.05.2024 to 31.05.2024 in Keonics MUSS
Sl No | MUSS | Feeder | Peak Load in MW | 8:00 am to 9:00 am | 9:00 am to 10:00 am | 10:00 am to11:00 am | 11:00 am to 12:00 pm | 12:00 pm to 01:00 pm | 01:00 pm to 02:00 pm | 02:00 pm to 03:00 pm | 03:00 pm to 04:00 pm | 04:00 pm to 05:00 pm | 05:00 pm to 06:00 pm | 06:00 pm to 07:00 pm | 07:00 pm to 08:00 pm | Areas Affected | Name of the Company/ Name of the HT Consumer affected
1 | Keonics | F01-SYSCON | 3 | - | - | - | 3 | - | - | - | - | - | 3 | - | - | BESCOM-OFFICE-,-FLEXTRONICS,AMPENAL,-TECHNIC-ROAD | SYSCON INSTRUMENTS PVT LTD, M/S AMPHENOL INTERCONNECT, M/S SILVER LINE INVESTMENT, TEKNIC ELECTROMECHANICS LTD,M/S CENTRE FOR DEVELOPMENT OF, M/S TEKNIC EUCHNER ELECTRONICSR. KRISHNA MURTHY & P. S. RAKESH KUMARS.A.RAHAMANM/S NASHAA ELECTRONIC,M/S SCHNEIDER ELECTRIC ,ITBU PVT LTDS,VENUGOPAL REDDY,SUNIL KUMAR AGARWAL,M/S. POLYMATIX INSTRUMENTATION PVT LTD,K SHAYAMPRASAD
2 | Keonics | F-2 Ecity Ph-1 | 2 | - | - | - | 2 | - | - | - | - | - | 2 | - | - | -
3 | Keonics | F05-YOKOGOVA | 1.5 | - | - | - | 1.5 | - | - | - | - | - | 1.5 | - | - | KONAPPAN-AGRHARA | M RAMESHYASHODA, TM.ANAND KUMAR,INTERNATIONAL INSTITUTE OF INFORMATION TECHNOLOGY,C.ANAND,M/S VATTIKUTTI TECHNOLOGIES PRIVATE LTD, PROJECT DIRECTOR .NHAI, M R NAGARAJ, SAKAMMA ,THE DIRECTOR,
4 | Keonics | F07-FMOOG-CONTROL | 2.5 | - | - | - | 2.5 | - | - | - | - | - | 2.5 | - | - | DEMART,-PETROL-BANK-ROAD | ENERTEC CONTROLS LIMITED, NETTUR TECHNICAL TRAINING FOUNDATION, INTERPLEX ELECTRONICS INDIA, M/S MOOG CONTROLS INDIA P LTD, SIL-KEE ELECTRONICS PVT LTD, M/S. R.S. ELECTRONICS LTD,R MANJUNATH., M/S METHOD E ELECTRONICS INDIA PRIVATE LIMITED, THE PROJECT DIRECTOR NHAI, THE PROJECT DIRECTOR NHAI, M/S.MEASURMENT& CONTROLS, M/S.YASKAWA ELETRIC INDIA PVT., M/S.CAPRONICS PVT.LTD, M/S AVENUE SUPER MARKET LIMITED, BRIAN PACE CONSULTNCY PVT LTD, ELECTRONICS CITY INDUSTRIES ASSOCIATION, INTERTECH COMMUNICATION LTD, SRI.G.PRASAD REDDY AND DR DULAY DIDAR SINGH, BANGALORE EDUCATIONAL TRUST REP BY MANISH PRAKASH KOTHARI
5 | Keonics | F-4 Hebgodi | 3 | - | - | - | - | 3 | - | - | - | - | - | 3 | - | -
6 | Keonics | F11-Veersandra | 3.4 | - | - | - | - | 3.4 | - | - | - | - | - | 3.4 | - | -
7 | Keonics | F03-CYBER-PARK | 1.1 | 1.1 | - | - | - | - | - | 1.1 | - | - | - | - | - | DEDICATED-FEEDER-(CYBER-PARK) | CYBER PARK DEVELOPMENT
8 | Keonics | F08-NEELADRI-NAGAR | 3.3 | - | - | - | - | - | 3.3 | - | - | - | - | - | 3.3 | 13TH-,-14TH-,15TH-CROSS-NEELADRI-ROAD,-SEVENSKA-HOTEL-,-PARAMOUNT,-DELATA-COPMPANY | Y.SHANTHARAM, ,HARIPRIYA ELECTRONICS CITY, VISHWA MICRO PROCESSORS PVT LTD, P L RAJENDRA, M/S. KUMAON ENTERTAINMENT AND LAKSHMI SRINIVAS M/S.SAI MARKETING, M/S RAJENDRA PRASAD., PARA MOUNT INDUSTRIES, THIRUMALA SWAMY, M. NAGARAJU AND OTHERS GPA M/S AJMERA HOUSING CORPORATIONN , C BALAJI, PARAMOUNT INDUSTRIES
9 | Keonics | F09-WIPRO-COMPLEX | 0.9 | - | - | - | - | 0.9 | - | - | - | - | - | 0.9 | - | KSSIDC-COMPLEX-,-RADHA-REGENT-ROAD,-RADEL-ROAD | K.N.ZUBIAR AHMED, TATA COMMUNICATION, M/S RAVINA VENTURES, PRAKASH BHANDARI, AVON DATA CABLES PVT LTD, M/S TATA POWER SOLAR SYSTEMS LTD, M/S INSTRUMENT REASEARCH, M/S INFOSYS LTD, SOFTWARE TECHNOLOGY PARK OF , M/S.RADHA REGENT HOTELS PVT LTD. INFOSYS LIMITED, M/S INKNOWTECH.PVT LTD, V.COMSMT.SHEELA NAGARAJ, M/S. BOWTHROPE THERMETRICSM/S CUSTOMISED TECHNOLOGIES
10 | Keonics | F10-WIPRO-EC | 1.3 | 1.3 | - | - | - | - | - | 1.3 | - | - | - | - | - | DEDICATED-FEEDER,-(INFOSYS) | GITESH K SHAH, WIPRO SYSTEMS LTD
11 | Keonics | F16-VELANKANI | 0.5 | 0.5 | - | - | - | - | - | 0.5 | - | - | - | - | - | PRESSTIGE-APATMENTS | PRESSTIGE-APATMENTS
12 | Keonics | F-17 Lakeview | 0.5 | - | - | - | - | 0.5 | - | - | - | - | - | 0.5 | - | -
13 | Keonics | F18-wipro | 2.1 | 2.1 | - | - | - | - | - | 2.1 | - | - | - | - | - | -
14 | Keonics | F-19 KSSIDC | 2.2 | - | - | - | - | - | 2.2 | - | - | - | - | - | 2.2 | -
15 | Keonics | F-28 Gollahalli | 2.5 | - | - | - | - | - | 2.5 | - | - | - | - | - | 2.5 | -
16 | Keonics | F30-NSDL | 1.1 | - | 1.1 | - | - | - | - | - | 1.1 | - | - | - | - | DEDICATED-FEEDER(NSDL) | NSDL EGOVERNANCE INFRASTRUCTURE LTD
17 | Keonics | F-31 Shri Ram Properties | 0.9 | - | 0.9 | - | - | - | - | - | 0.9 | - | - | - | - | -
18 | Keonics | F22-AJMEERA-INFINITY | 1.4 | - | 1.4 | - | - | - | - | - | 1.4 | - | - | - | - | AJMEERA--STONE-PARK-AND-AJMEERA-APARMENTS | M/S.CYIENT LIMITED, Ajmeera Infinity apartment
19 | Keonics | F23-WIPRO-EC-SEZ | 3.3 | - | 3.3 | - | - | - | - | - | 3.3 | - | - | - | - | DEDICATED-FEEDER(WIPRO) | M/S WIPRO LTD.
20 | Keonics | F24-ITTINA-MAHAVEER | 3.2 | - | - | - | - | - | - | - | - | - | - | - | - | 1ST-,-2ND,-3RD-CROSS-NEELADRI-ROAD,-ARCHID-PARK,KARUNA-NAGAR | SMT SANDHYA SHEKAR, H B SUSHEELAMMAGOPALAPPARENUKA MAHESHWARI, VENKATA RAMA RAO UPPULURI & OTHERS, V CHITTI BABU NAIDUANUPAMA M B, J R SHWETHA RAJ & OTHERSP , V SHANKARP.N. RAGHUNANDAN GPA T.BALASUBRAMANYAM & OTHERSS , V RAJENDRA PRASAD GPA Y CHANDRASEKHARB , SAMPATH GANESHANAND KUMAR, JMC PROJECTS INDIA LTD, SMT. M AMMAIAHR G ANILS.V.RAJENDRA PRASAD GPA SATHYANARAYANA REDDY
21 | Keonics | F25-HCL | 1.3 | - | - | 1.3 | - | - | - | - | - | 1.3 | - | - | - | DEDICATED-FEEDER(HCL) | M/S RGA SOFTWARE P LTD
22 | Keonics | F26-SIEMENS | 4 | - | - | 4 | - | - | - | - | - | 4 | - | - | - | SIEMENS, | M/S SIEMENS TECHNOLOGY AND SERVICES PVT LTD, MR. R.ROSHAN BAIG, M/S TEJAS NETWORKS LIMITED, J P SUDHAKARMUNI KANNAIAH NAIDU
23 | Keonics | F27-SYMBIOSIS | 2.3 | - | - | 2.3 | - | - | - | - | - | 2.3 | - | - | - | SYMBIOSIS-COLLAGE,-MARCK-IT-COMPANY | MPRIME PREMISES PVT LTD, N.Y.NARAYAN, M/S.SYMBIOSIS SOCIETY
24 | Keonics | F-32 Prestige Birchwood | 0.5 | - | - | 0.5 | - | - | - | - | - | 0.5 | - | - | - | -
|  |  | 47.8 | 5 | 6.7 | 8.1 | 9 | 7.8 | 8 | 5 | 6.7 | 8.1 | 9 | 7.8 | 8

## Velankini
Load Shedding Chart from 27.05.2024 to 31.05.2024 Velankini MUSS
Sl No | MUSS | Feeder | Peak Load in MW | 8:00 am to 9:00 am | 9:00 am to 10:00 am | 10:00 am to11:00 am | 11:00 am to 12:00 pm | 12:00 pm to 01:00 pm | 01:00 pm to 02:00 pm | 02:00 pm to 03:00 pm | 03:00 pm to 04:00 pm | 04:00 pm to 05:00 pm | 05:00 pm to 06:00 pm | 06:00 pm to 07:00 pm | 07:00 pm to 08:00 pm | Areas Affected | Name of the Company/ Name of the HT Consumer affected
1 | Velankini | F02-SALARPURIA | 3 | - | 3 | - | - | - | - | - | 3 | - | - | - | - | ELCITA OFFICE, PALLAVI GRAND HOTEL, | INFOSYS LIMITED, M/S. YOKAGAWA INDIA LIMITED, DIRECTOR, ELECTRONIC CITY, M/S INFOSYS LTD, HEWLETT PACKARD ENTERPRISE , GLOBALSOFT PVT LTD, M/S. CENTRE FOR DEVELOPMENTAL, SRI. V SHIVASHANKAR &NEELAM, A SHAHANI AND AJIT N SHAHANI
2 | Velankini | F03-TIMKIN | 3 | - | 3 | - | - | - | - | - | 3 | - | - | - | - | TIMKIN, HP COMPANY, KAVERY HOSPITAL, KONAR COMPANY | D N ASHOK BABU, KONAR ENGINEERING SERVICES, TIMKEN ENGINEERING &, M/S XSYSYS TECHNOLOGIES PVT L, .M/S QUADRO INFO TECHNOLOGIES, RAMAKRISHNA HOSPITAL( P) LTD
3 | Velankini | F4 -G.B Palya | 3 | - | - | 3 | - | - | - | - | - | 3 | - | - | -
4 | Velankini | F11-HOTEL-OTTERA | 2 | 2 | - | - | - | - | - | 2 | - | - | - | - | - | HOTEL-OTTERA, HP COMPANY | M/S HEWLETT PACKARD GLOBAL, M/S VELANKANI INFORMATION
5 | Velankini | F07-BHEL | 3 | - | - | - | 3 | - | - | - | - | - | 3 | - | - | BSNL ROAD, ELCITA WATER PUMP, CAFECORNER, ITI HUB | LAKSHMANA REDDY, MS ONE WORLD VENTURES , D N LAKSHMAN REDDY AND OTHERS, LOTUS MANPOWER CONSULTANTS SERVICES PVT LTD, FUSION SOFTWARE ENGINEERING, SHIKSHANA PRASARAKA MANDALI, M/S. DALMIA BHARAT SUGAR AND, M/S. FANUC (INDIA) LTD., M/S. G.E. THERMOMETRICS INDIAKARNATAKA HYBRID MICRO DEVISES, M/S SHREETRONICS ENTERPRISESVIDHYA CHANUKYA., M/S CENTRE FOR DEVELOPMENT OF, M/S CMOS COMMUNICATIONS P LTD., M/S J.J. GLASTRONICS P LTD, M/S MRO TEK REALTY LIMITED, M/S. AMITRONICS PVT LTD, M/S RGA SOFTWARE SYSTEMS (P) L, M/S SHREE TRONICS ENTERPRISES, M/S LEMON TREE HOTEL PVT LTD, MANAGING TRUSTEE, BANGALORESRI SREEDHAR VENKATTARAMAN, M/S SATYADEO HOSPITALITY PVT LTD, M/S.CELESTREAM SYSTEMS PVT LTD, H ASHOKJ.J.GLASSTRONICS (P) LTD,, INDIAN TELEPHONE INDUSTRY, GENERAL MANAGER BSNLM/S EXASENSE LABS LTD
6 | Velankini | F08-DODDATHOGUR | 1 | - | - | - | - | 1 | - | - | - | - | - | 1 | - | DODDATHOGUR PANCHAYATH, PATELAMMA TEMPLE ROAD, NANJA REDDY TC | M N NEERMALAM.NEERAJ, AKSHA NAIDUS VENKATESH REDDY, M S EAST NORTH REALTY PVT LTD
7 | Velankini | F9 NGR Palya | 4 | - | - | - | - | 4 | - | - | - | - | - | 4 | -
8 | Velankini | F10 Bommanahalli main road | 2 | - | - | - | - | - | - | - | - | - | - | - | -
9 | Velankini | F12-BSNL-TELEPHONE-EXCHANGE | 3 | 3 | - | - | - | - | - | 3 | - | - | - | - | - | BHEL , ARVIND MILLS | M/S.TATA ADVANCED SYSTEMS LIMITEDM/S 3M INDIA LIMITEDM/S.INFOSYS LTDBHARATH HEAVY ELECTRICALS LTDMANAGING DIRECTOR, (KBITS)M/S ARVIND MILLS LTD.K GNANASEKAR
10 | Velankini | F13-WIPRO-SEZ | 1 | 1 | - | - | - | - | - | 1 | - | - | - | - | - | DEDICATED FEEDER(WIPRO) | MS.MGM CASTINGS PRIVATE LIMITED BY MANAGING DIRECTOR , MR V.P.SATHYANARAYAN, MANAGING DIRECTOR BANGALORE BIOINNOVATION CENTR (BBC)
11 | Velankini | F14 Crystal apartment | 3 | - | - | 3 | - | - | - | - | - | 3 | - | - | -
12 | Velankini | F15-UNIVERSAL-BUILDER | 3 | - | - | - | 3 | - | - | - | - | - | 3 | - | - | VINAYAKA L/O, GREEN HOUSE L/O,DODDATHOGUR | -
13 | Velankini | F16-CELEBRITY-LAYOUT | 2 | - | - | - | - | - | - | - | - | - | - | - | - | CELEBRITY L/O, TECH CITY L/O, INVESTMENT L/O, MAGNOLIA L/O, SAPTHAGIRI L/O | -
14 | Velankini | F17-KONAPPANA-AGRAHARA | 0.5 | - | - | - | - | 0.5 | - | - | - | - | - | 0.5 | - | KONAPPANA AGRAHARA
15 | Velankini | F18 Mylsandra Aux | 2 | - | - | - | - | - | 2 | - | - | - | - | - | 2
16 | Velankini | F19 Vittasandar | 2 | - | - | - | - | - | 2 | - | - | - | - | - | 2
17 | Velankini | F20 Chickkathogur | 2 | - | - | - | - | - | 2 | - | - | - | - | - | 2
18 | Velankini | F21-STPI | 3 | 3 | - | - | - | - | - | 3 | - | - | - | - | - | WIPRO COMPANY | SOETWARE TECHNOLOGY PARKS OF INDIA
19 | Velankini | F22-INFOSYS | 0.5 | 0.5 | - | - | - | - | - | 0.5 | - | - | - | - | - | DEDICATED FEEDER(INFOSYS) | INFOSYS LTD
|  |  | 43 | 9.5 | 6 | 6 | 6 | 5.5 | 6 | 9.5 | 6 | 6 | 6 | 5.5 | 6

## Malgudi
Load Shedding Chart from 27.05.2024 to 31.05.2024 Malgudi MUSS
Sl No | MUSS | Feeder | Peak Load in MW | 8:00 am to 9:00 am | 9:00 am to 10:00 am | 10:00 am to11:00 am | 11:00 am to 12:00 pm | 12:00 pm to 01:00 pm | 01:00 pm to 02:00 pm | 02:00 pm to 03:00 pm | 03:00 pm to 04:00 pm | 04:00 pm to 05:00 pm | 05:00 pm to 06:00 pm | 06:00 pm to 07:00 pm | 07:00 pm to 08:00 pm | Areas Affected | Name of the Company/ Name of the HT Consumer affected
1 | MALGUDI | F02-TATA-B.P-SOLAR | 2.5 | - | 2.5 | - | - | - | - | - | 2.5 | - | - | - | - | SHANTHI PURA ROAD, NARAYAN AREDDY L/O,G S PALYA, BASAVA NAGARA ROAD, CHARCH ROAD | MS JAS TELECOM PVT LTD, T SRINIVASAIAH & S HEMAVATHI & G S SANDEEP KUMART SRINIVASAIAH & S HEMAVATHI & G S SANDEEP KUMARK R SRIDHARA, M/S XAVIER INSTITUTE OFMR.A.GOUSIGAN,, B.VENKATASWAMY REDDY, THE GENERAL MANAGER, DEPOT-19, XEVIER INSTITUTE OF MANAGEMENT
2 | MALGUDI | F03-MALGUDI | 2.5 | - | 2.5 | - | - | - | - | - | 2.5 | - | - | - | - | SEMICON PARK MALGUDI STATION ROAD | M/S SEMICON PARK (P) LTD,M/S S.N.AUTOMATS, M/S SYNGENE INTERNATIONAL LIMITED, M/S SHAKAMBARI INDUSTRIESSRI VIDUR MUNJAL AND UJJWAL MUNJALM/S.BIOCON LIMITED,
3 | MALGUDI | F04-BBMP | 1.8 | - | 1.8 | - | - | - | - | - | 1.8 | - | - | - | - | MARUTHI CONCORD | M S CONCORDE TECHNOPARK PVT LTD GPA MS. PRAJA INFRATECH PVT LTD
4 | MALGUDI | F5 Doddanagamangala | 1.9 | - | 1.9 | - | - | - | - | - | 1.9 | - | - | - | -
5 | MALGUDI | F06-FIDLE | 2.1 | - | - | - | 2.1 | - | - | - | - | - | 2.1 | - | - | G S PALYA, KRISHNA REDDY L/O | K R SRIDHARAM/S XAVIER INSTITUTE OFMR.A.GOUSIGAN,B.VENKATASWAMY REDDYTHE GENERAL MANAGER, DEPOT-19,XEVIER INSTITUTE OF MANAGEMENTM/S SEMICON PARK (P) LTD,M/S S.N.AUTOMATSM/S SYNGENE INTERNATIONAL LIMITEDM/S SHAKAMBARI INDUSTRIESSRI VIDUR MUNJAL AND UJJWAL MUNJALM/S.BIOCON LIMITED,M S CONCORDE TECHNOPARK PVT LTD GPA MS. PRAJA INFRATECH PVT LTDRADHIKA GANESHH.R. SUDHAKAR, RAMA MURTHY &MR.AKSHAY KUMAR & VIDYARANIM ARUN KUMARM SREEDHARANITHA PRASANNA KUMARPRASANNA KUMAR
6 | MALGUDI | F14-GOLD-HILL-SQUARE | 2.8333 | 2.8333 | - | 2.8333 | - | - | - | 2.8333 | - | 2.8333 | - | - | - | DEDICATED FEEDER(GOLD-HILL-SQUARE) | K R SRIDHARA, RADHIKA GANESH, H.R. SUDHAKAR, RAMA MURTHY &MR.AKSHAY KUMAR & VIDYARANIM, ARUN KUMAR, M SREEDHAR, ANITHA PRASANNA KUMARPRASANNA, KUMAR
7 | MALGUDI | F07-FSATHYAM | 3 | - | - | - | 3 | - | - | - | - | - | 3 | - | - | ANAND REDDY L/O | VENKATAKRISHNAN, SRINIVASAN, KCT MANAGEMENT SERVICES PVT LTD, AJMEERA HOUSING CORPORATION, M/S PRINT POINT INDIA PVT LTD, M/S DUBAS ENGINEERING PVT LTD, M/S JAS TELECOM(P) LTD, SMT K.RAMAANANDA REDDY, K MANOGARAN, , MANAGING PARTNER, M/S. GLOBAL TECH PARK (P) LTD,
8 | MALGUDI | F9 Veerasandra I A Ph-1 | 2.8 | - | - | - | 2.8 | - | - | - | - | - | 2.8 | - | -
9 | MALGUDI | F10 Veerasandra I A Ph-2 | 1.8 | - | - | - | - | 1.8 | - | - | - | - | - | 1.8 | -
10 | MALGUDI | F11 ITTINA | 3 | - | - | - | - | 3 | - | - | - | - | - | 3 | -
11 | MALGUDI | F13-GOLBAL-TECH-PARK | 1.1 | - | - | 1.1 | - | - | - | - | - | 1.1 | - | - | - | DEDICATED FEEDER(GOLBAL-TECH-PARK) | SRI SATISH P CHANDRA,
12 | MALGUDI | F15-EQUINOX INFOSYS | 0.23333 | 0.23333 | - | 0.23333 | - | - | - | 0.23333 | - | 0.23333 | - | - | - | DEDICATED FEEDER(EQUINOX INFOSYS) | INFOSYS LIMITED, MGM CASTINGS PVT LTD, M/S.INFOSYS LTD
13 | MALGUDI | F17-SNN APARTMENT | 4.6667 | - | - | - | - | 4.6667 | - | - | - | - | - | 4.6667 | - | KIADB L/O,SNN APARTMENT | CREATIVE PROJECTS & CONTRACTS PVT LTD, M/S.HICAL TECHNOLOGIES PVT LTD, FAROOK AHMED SHARIF ,.M/S SMARTLINK HOLDINGS LIMITED, AXIS BANK LIMITED, M/S.BHAVANI INDUSTRIES, QUASITU INTELI SOFT (INDIA), MR. MUNAVAR YUNUS, JALIWALA AND MR. FAIZUL YUNUS JALIWALA, SRI VENKATESHWARA INDUSTRIES LL, PH SRINIVAS REDDY, B.S.SAMSUNDERB RAMA DEVIL PANDU & THIRUMALASWAMY, TRANSCEND DEVELOPERS, PRAKASH.AJAYAMMAN ESHWAR RAJU, B.POORNACHANDRA REDDYP V C PREM KUMAR, M S SHELTERS PVT LTD, ANITHA VENUGOPALA REDDY, USHA RANI., RMS PHOENIX DEVELOPERS REP BY B. KUPPU RAJ & ARJUN MANJUNATH, B POORNACHANDRA REDDYMS, M S SHELTERS PRIVATE LIMITED REP BY ASHA SATHISH, PRAVEEN KUMARB POORNA CHANDRA REDDY , M/S.SIERRA PROJECTS PVT.LTD, .HAMZA & OTHERS, M/S SRINIDHIM KANTHARAJU AND OTHERS, BANGALORE EDUCATIONAL TRUST REP BY MANISH PRAKASH KOTHARI MS ELCITA MS ELCITA
14 | MALGUDI | F-18 MicroLabs | 2.3667 | - | - | - | - | - | 2.3667 | - | - | - | - | - | 2.3667
15 | MALGUDI | F-19 Ananthanagar | 2.4 | - | - | - | - | - | 2.4 | - | - | - | - | - | 2.4
16 | MALGUDI | F21-Glass Factory Layout | 2 | - | - | - | - | - | 2 | - | - | - | - | - | 2
17 | MALGUDI | F22-Daddys Garden | 2 | - | - | - | - | - | 2 | - | - | - | - | - | 2
18 | MALGUDI | F23-Shantipura | 1 | - | - | - | 1 | - | - | - | - | - | 1 | - | -
19 | MALGUDI | F-26 MindComp | 2 | - | - | - | - | - | - | - | - | - | - | - | -
20 | MALGUDI | F27-VENKATESHWARA DEVELOPERS | 3 | 3 | - | 3 | - | - | - | 3 | - | 3 | - | - | - | DEDICATED FEEDER(VENKATESHWARA DEVELOPERS) | SRI VENKATESHWARA INDUSTRIES LLP
21 | MALGUDI | F25-NSDL | 2 | - | - | 2 | - | - | - | - | - | 2 | - | - | - | DEDICATED FEEDER(NSDL) | NSDL
|  |  | 47 | 6.0667 | 8.7 | 9.1667 | 8.9 | 9.4667 | 8.7667 | 6.0667 | 8.7 | 9.1667 | 8.9 | 9.4667 | 8.7667